SMD2110 NARROW 4MM

DC24V IP20 24W CRI90

LNTS8XX240NO-Ax-D24-10P- RGB

Feature:

- Super slim width with board width only 4mm

- High quality FPC, high thermal 3M adhesive

- Smaller size, higher density up to 300LEDs/m

- High cost performance and excellent in heat dissipation

Product Specification:

| Power | 11.5W/M 3.5W/ft |
| --- | --- |
| Voltage | DC24V |
| CRI | 90 |
| Led Qty | 240LEDs/M |
| Length/Reel | 5M 16.56ft |
| Working Temperature | -25~60°C |
| Storage Temperature | -30~80°C |
| Voltage Range | 23~25V dc |
| Reverse Voltage | 25V dc |